## Main
| Estimate of Water Comsumption | [6 empty] | (Degrees C) |  | (grams/seconds)
| David Roberson 10/17/2011 Rev 4.0 | [6 empty] | Therm Cor |  | Pump Rate= | 1.5
[8 empty] | 0.8 |  |  |  | Water Flow In |  | Power Out | Water Vapor | Seconds |  | Water Out | Water Vapor | Net Water in ECAT
[9 empty] | Corrected |  |  | (Grams) |  | (Watts) | (Per second) |  |  | (Grams) | (Grams) | (Grams)
testo175-177 | Data | Ora | [°C] Cell 2 - Ambient | [°C] Cell 2 - Out | [°C] Cell 2 - In | Heat Exch In | Heat Exch Out | Calc Delta | Calc Delta | [8 empty] | Total Vapor | Sub Totals | 0
71 | 2011-10-06 | 11:22 | 28.7 | 29.9 | 25.6 | 25.6 | 29.9 | 4.3 | 0 |  |  | 1981.5 |  | 0 | 0 | 1321 |  | 0 | 0 | 1981.5
954 | 2011-10-06 | 11:52 | 28.7 | 29.7 | 25.5 | 24.7 | 24.2 | -0.5 | 0 |  |  | 4681.5 |  | 0 | 0 | 1800 |  | 0 | 0 | 4681.5
1540 | 2011-10-06 | 12:12 | 28.8 | 31.1 | 25.7 | 24.5 | 24 | -0.5 | 0 |  |  | 6481.5 |  | 0 | 0 | 1200 |  | 0 | 0 | 6481.5
1835 | 2011-10-06 | 12:22 | 28.9 | 34.4 | 25.7 | 24.5 | 24 | -0.5 | 0 |  |  | 7381.5 |  | 0 | 0 | 600 |  | 0 | 0 | 7381.5
2135 | 2011-10-06 | 12:32 | 28.8 | 40.1 | 25.7 | 24.7 | 24.2 | -0.5 | 0 |  |  | 8281.5 |  | 0 | 0 | 600 |  | 0 | 0 | 8281.5
2703 | 2011-10-06 | 12:52 | 28.8 | 59 | 25.7 | 24.4 | 23.6 | -0.8 | 0 |  |  | 10081.5 |  | 0 | 0 | 1200 |  | 0 | 0 | 10081.5
2999 | 2011-10-06 | 13:02 | 28.9 | 68 | 25.8 | 24.7 | 23.9 | -0.8 | 0 |  |  | 10981.5 |  | 0 | 0 | 600 |  | 0 | 0 | 10981.5
3346 | 2011-10-06 | 13:14 | 28.9 | 77.7 | 25.8 | 24.4 | 23.7 | -0.7 | 0 |  |  | 12061.5 |  | 0 | 0 | 720 |  | 0 | 0 | 12061.5
3586 | 2011-10-06 | 13:22 | 28.9 | 84 | 25.8 | 24.4 | 23.7 | -0.7 | 0 |  |  | 12781.5 |  | 0 | 0 | 480 |  | 0 | 0 | 12781.5
4049 | 2011-10-06 | 13:38 | 28.9 | 94.8 | 25.8 | 24.9 | 26.3 | 1.4 | 2.2 |  |  | 14221.5 |  | 1640.0208 | 0.6413 | 960 |  | 115.4335 | 115.4335 | 14106.0665
4139 | 2011-10-06 | 13:41 | 29 | 96.8 | 25 | 25.2 | 27.2 | 2 | 2.8 |  |  | 14491.5 |  | 2087.2992 | 0.81353 | 180 |  | 341.6835 | 457.1171 | 14034.3829
4349 | 2011-10-06 | 13:48 | 29 | 101.5 | 25 | 25.2 | 28.7 | 3.5 | 4.3 |  |  | 15121.5 |  | 3205.4952 | 1.2398 | 420 |  | 967.0762 | 1424.1933 | 13697.3067
4721 | 2011-10-06 | 14:01 | 29.1 | 110.2 | 25 | 26 | 32.9 | 6.9 | 7.7 |  |  | 16291.5 |  | 5740.0728 | 2.1893 | 780 |  | 1182.2367 | 2606.43 | 13685.07
4991 | 2011-10-06 | 14:10 | 29.2 | 115.2 | 25.1 | 26.3 | 30.7 | 4.4 | 5.2 |  |  | 17101.5 |  | 3876.4128 | 1.4668 | 540 |  | 440.0375 | 3046.4676 | 14055.0324
5141 | 2011-10-06 | 14:15 | 29.2 | 117.3 | 25.1 | 26 | 29.9 | 3.9 | 4.7 |  |  | 17551.5 |  | 3503.6808 | 1.3214 | 300 |  | 396.4071 | 3442.8747 | 14108.6253
5291 | 2011-10-06 | 14:20 | 29.3 | 118.9 | 25.2 | 26.4 | 30.7 | 4.3 | 5.1 |  |  | 18001.5 |  | 3801.8664 | 1.4302 | 300 |  | 858.1191 | 4300.9938 | 13700.5062
5576 | 2011-10-06 | 14:30 | 29.4 | 121.5 | 25.3 | 26.1 | 30 | 3.9 | 4.7 |  |  | 18901.5 |  | 3503.6808 | 1.3126 | 600 |  | 551.3127 | 4852.3064 | 14049.1936
5786 | 2011-10-06 | 14:37 | 29.5 | 122 | 25.3 | 26.3 | 30.1 | 3.8 | 4.6 |  |  | 19531.5 |  | 3429.1344 | 1.2837 | 420 |  | 691.9215 | 5544.228 | 13987.272
6055 | 2011-10-06 | 14:46 | 29.6 | 121.6 | 25.3 | 26.1 | 29.6 | 3.5 | 4.3 |  |  | 20340 |  | 3205.4952 | 1.2007 | 539 |  | 289.3798 | 5833.6078 | 14506.3922
6159 | 2011-10-06 | 14:50 | 29.6 | 121.2 | 25.4 | 26.2 | 29.6 | 3.4 | 4.2 |  |  | 20701.5 |  | 3130.9488 | 1.1736 | 241 |  | 70.4135 | 5904.0213 | 14797.4787
6189 | 2011-10-06 | 14:51 | 29.6 | 121.2 | 25.4 | 26.3 | 30.2 | 3.9 | 4.7 |  |  | 20791.5 |  | 3503.6808 | 1.3133 | 60 |  | 630.3684 | 6534.3896 | 14257.1104
6429 | 2011-10-06 | 14:59 | 29.7 | 120.9 | 25.4 | 26.1 | 30.2 | 4.1 | 4.9 |  |  | 21511.5 |  | 3652.7736 | 1.3698 | 480 |  | 2136.8821 | 8671.2717 | 12840.2283
7190 | 2011-10-06 | 15:25 | 29.8 | 119.2 | 25.4 | 26.2 | 31 | 4.8 | 5.6 |  |  | 23851.5 |  | 4174.5984 | 1.5697 | 1560 |  | 1604.205 | 10275.4766 | 13576.0234
7684 | 2011-10-06 | 15:42 | 30 | 121.8 | 25.5 | 25.9 | 28.9 | 3 | 3.8 |  |  | 25384.5 |  | 2832.7632 | 1.0608 | 1022 |  | 888.9433 | 11164.42 | 14220.08
8101 | 2011-10-06 | 15:56 | 30.1 | 123.8 | 25.6 | 24.9 | 33.4 | 8.5 | 9.3 |  |  | 26641.5 |  | 6932.8152 | 2.588 | 838 |  | 2639.7908 | 13804.2107 | 12837.2893
8593 | 2011-10-06 | 16:13 | 30.2 | 121.7 | 25.6 | 24.7 | 32.9 | 8.2 | 9 |  |  | 28171.5 |  | 6709.176 | 2.5128 | 1020 |  | 1356.9094 | 15161.1201 | 13010.3799
8863 | 2011-10-06 | 16:22 | 30.3 | 118.9 | 25.6 | 24.9 | 31.7 | 6.8 | 7.6 |  |  | 28981.5 |  | 5665.5264 | 2.1313 | 540 |  | 2046.0252 | 17207.1452 | 11774.3548
9325 | 2011-10-06 | 16:38 | 30.3 | 115.4 | 25.7 | 24.5 | 33.7 | 9.2 | 10 |  |  | 30421.5 |  | 7454.64 | 2.8199 | 960 |  | 2030.2991 | 19237.4443 | 11184.0557
9685 | 2011-10-06 | 16:50 | 30.2 | 115 | 25.7 | 24.7 | 35.5 | 10.8 | 11.6 |  |  | 31501.5 |  | 8647.3824 | 3.2731 | 720 |  | 3534.9604 | 22772.4047 | 8729.0953
10207 | 2011-10-06 | 17:08 | 30.1 | 114.8 | 25.8 | 25 | 34 | 9 | 9.8 |  |  | 33121.5 |  | 7305.5472 | 2.7661 | 1080 |  | 1991.5861 | 24763.9908 | 8357.5092
10567 | 2011-10-06 | 17:20 | 30 | 114.4 | 25.8 | 24.7 | 31.3 | 6.6 | 7.4 |  |  | 34201.5 |  | 5516.4336 | 2.09 | 720 |  | 1630.2056 | 26394.1964 | 7807.3036
10939 | 2011-10-06 | 17:33 | 30 | 114.3 | 25.9 | 24.4 | 30.5 | 6.1 | 6.9 |  |  | 35371.5 |  | 5143.7016 | 1.9491 | 780 |  | 3157.5416 | 29551.738 | 5819.762
11732 | 2011-10-06 | 18:00 | 29.8 | 116.2 | 24.5 | 24.4 | 31.6 | 7.2 | 8 |  |  | 37801.5 |  | 5963.712 | 2.253 | 1620 |  | 5407.2779 | 34959.0159 | 2842.4841
12912 | 2011-10-06 | 18:40 | 29.6 | 116.8 | 24.8 | 24.3 | 29.6 | 5.3 | 6.1 |  |  | 41401.5 |  | 4547.3304 | 1.7163 | 2400 |  | 1338.7202 | 36297.7361 | 5103.7639
13284 | 2011-10-06 | 18:53 | 29.6 | 116.4 | 24.8 | 24.3 | 29 | 4.7 | 5.5 |  |  | 42571.5 |  | 4100.052 | 1.5485 | 780 |  | 929.0819 | 37226.818 | 5344.682
13584 | 2011-10-06 | 19:03 | 29.5 | 116.6 | 24.9 | 24.5 | 29.8 | 5.3 | 6.1 |  |  | 43471.5 | end | 4547.3304 | 1.7169 | 600 | end | 1957.2098 | 39184.0278 | 4287.4722 | end
14137 | 2011-10-06 | 19:22 | 29.5 | 114.5 | 25.8 | 24.2 | 32.4 | 8.2 | 9 |  |  | 45181.5 |  | 6709.176 | 2.5415 | 1140 |  | 457.4695 | 39641.4973 | 5540.0027
14227 | 2011-10-06 | 19:25 | 29.4 | 113.3 | 26.7 | 24.3 | 32.4 | 8.1 | 8.9 |  |  | 45451.5 |  | 6634.6296 | 2.5181 | 180 |  | 2266.247 | 41907.7443 | 3543.7557
14661 | 2011-10-06 | 19:40 | 29.4 | 108.1 | 27.4 | 24 | 27.4 | 3.4 | 4.2 |  |  | 46801.5 |  | 3130.9488 | 1.1982 | 900 |  | 862.7024 | 42770.4468 | 4031.0532
15021 | 2011-10-06 | 19:52 | 29.4 | 104.6 | 27.5 | 24.3 | 26.9 | 2.6 | 3.4 |  |  | 47881.5 |  | 2534.5776 | 0.97544 | 720 |  | 351.1589 | 43121.6057 | 4759.8943
15201 | 2011-10-06 | 19:58 | 29.4 | 103.1 | 27.5 | 24.4 | 26.5 | 2.1 | 2.9 |  |  | 48421.5 |  | 2161.8456 | 0.83401 | 360 |  |  | 43121.6057 | 5299.8943
[9 empty] | All 0 before out | [7 empty] | Total Out= | 43121.6057
[12 empty] | Max Energy= | 114090738.3
All vaporized

## Calculations
Time Calculations Support
David Roberson
Time Factor
1440
Supporting Calculations for Sheets
Ora |  | Ora |  | Seconds | Elapsed Seconds | Test Data
11:00 |  | 0.45833 | 0 | 0 | 0 | 0
11:22 |  | 0.47362 | 0.015289 | 1321 | 1321 | 1981.5
11:52 |  | 0.49446 | 0.020833 | 1800 | 3121 | 4681.5
12:12 |  | 0.50834 | 0.013889 | 1200 | 4321 | 6481.5
12:22 |  | 0.51529 | 0.0069444 | 600 | 4921 | 7381.5
12:32 |  | 0.52223 | 0.0069444 | 600 | 5521 | 8281.5
12:52 |  | 0.53612 | 0.013889 | 1200 | 6721 | 10081.5
13:02 |  | 0.54307 | 0.0069444 | 600 | 7321 | 10981.5
13:14 |  | 0.5514 | 0.0083333 | 720 | 8041 | 12061.5
13:22 |  | 0.55696 | 0.0055556 | 480 | 8521 | 12781.5
13:38 |  | 0.56807 | 0.011111 | 960 | 9481 | 14221.5
13:41 |  | 0.57015 | 0.0020833 | 180 | 9661 | 14491.5
13:48 |  | 0.57501 | 0.0048611 | 420 | 10081 | 15121.5
14:01 |  | 0.58404 | 0.0090278 | 780 | 10861 | 16291.5
14:10 |  | 0.59029 | 0.00625 | 540 | 11401 | 17101.5
14:15 |  | 0.59376 | 0.0034722 | 300 | 11701 | 17551.5
14:20 |  | 0.59723 | 0.0034722 | 300 | 12001 | 18001.5
14:30 |  | 0.60418 | 0.0069444 | 600 | 12601 | 18901.5
14:37 |  | 0.60904 | 0.0048611 | 420 | 13021 | 19531.5
14:46 |  | 0.61528 | 0.0062384 | 539 | 13560 | 20340
14:50 |  | 0.61807 | 0.0027894 | 241 | 13801 | 20701.5
14:51 |  | 0.61876 | 0.00069444 | 60 | 13861 | 20791.5
14:59 |  | 0.62432 | 0.0055556 | 480 | 14341 | 21511.5
15:25 |  | 0.64237 | 0.018056 | 1560 | 15901 | 23851.5
15:42 |  | 0.6542 | 0.011829 | 1022 | 16923 | 25384.5
15:56 |  | 0.6639 | 0.0096991 | 838 | 17761 | 26641.5
16:13 |  | 0.67571 | 0.011806 | 1020 | 18781 | 28171.5
16:22 |  | 0.68196 | 0.00625 | 540 | 19321 | 28981.5
16:38 |  | 0.69307 | 0.011111 | 960 | 20281 | 30421.5
16:50 |  | 0.7014 | 0.0083333 | 720 | 21001 | 31501.5
17:08 |  | 0.7139 | 0.0125 | 1080 | 22081 | 33121.5
17:20 |  | 0.72223 | 0.0083333 | 720 | 22801 | 34201.5
17:33 |  | 0.73126 | 0.0090278 | 780 | 23581 | 35371.5
18:00 |  | 0.75001 | 0.01875 | 1620 | 25201 | 37801.5
18:40 |  | 0.77779 | 0.027778 | 2400 | 27601 | 41401.5
18:53 |  | 0.78682 | 0.0090278 | 780 | 28381 | 42571.5
19:03 |  | 0.79376 | 0.0069444 | 600 | 28981 | 43471.5
19:22 |  | 0.80696 | 0.013194 | 1140 | 30121 | 45181.5
19:25 |  | 0.80904 | 0.0020833 | 180 | 30301 | 45451.5
19:40 |  | 0.81946 | 0.010417 | 900 | 31201 | 46801.5
19:52 |  | 0.82779 | 0.0083333 | 720 | 31921 | 47881.5
19:58 |  | 0.83196 | 0.0041667 | 360 | 32281 | 48421.5

## Charts
ECAT Water Mass and Vaporization
David Roberson
| Temp correction=0 | Temp=.8 | Temp=0 | Temp=0 | Temp=.8
| Flow Rate In=1.5 g/s | Flow Rate=1.5 | Flow Rate=2.0 | Flow Rate=1.75 | Flow Rate=1.75
Time | ECAT Water Mass | ECAT Water Mass | ECAT Water Mass | ECAT Water Mass | ECAT Water Mass
0 | 0 | 0 | 0 | 0 | 0
1321 | 1981.5 | 1981.5 | 2642 | 2311.75 | 2311.75
3121 | 4681.5 | 4681.5 | 6242 | 5461.75 | 5461.75
4321 | 6481.5 | 6481.5 | 8642 | 7561.75 | 7561.75
4921 | 7381.5 | 7381.5 | 9842 | 8611.75 | 8611.75
5521 | 8281.5 | 8281.5 | 11042 | 9661.75 | 9661.75
6721 | 10081.5 | 10081.5 | 13442 | 11761.75 | 11761.75
7321 | 10981.5 | 10981.5 | 14642 | 12811.75 | 12811.75
8041 | 12061.5 | 12061.5 | 16082 | 14071.75 | 14071.75
8521 | 12781.5 | 12781.5 | 17042 | 14911.75 | 14911.75
9481 | 14148.0423 | 14106.0665 | 18888.5423 | 16518.2923 | 16476.3165
9661 | 14173.9826 | 14034.3829 | 19004.4826 | 16589.2326 | 16449.6329
10081 | 14016.8275 | 13697.3067 | 19057.3275 | 16537.0775 | 16217.5567
10861 | 14127.4206 | 13685.07 | 19557.9206 | 16842.6706 | 16400.32
11401 | 14565.0811 | 14055.0324 | 20265.5811 | 17415.3311 | 16905.2824
11701 | 14686.1476 | 14108.6253 | 20536.6476 | 17611.3976 | 17033.8753
12001 | 14412.6354 | 13700.5062 | 20413.1354 | 17412.8854 | 16700.7562
12601 | 14855.1632 | 14049.1936 | 21155.6632 | 18005.4132 | 17199.4436
13021 | 14913.5759 | 13987.272 | 21424.0759 | 18168.8259 | 17242.522
13560 | 15486.5342 | 14506.3922 | 22266.5342 | 18876.5342 | 17896.3922
13801 | 15791.0328 | 14797.4787 | 22691.5328 | 19241.2828 | 18247.7287
13861 | 15357.9612 | 14257.1104 | 22288.4612 | 18823.2112 | 17722.3604
14341 | 14289.9578 | 12840.2283 | 21460.4578 | 17875.2078 | 16425.4783
15901 | 15254.925 | 13576.0234 | 23205.425 | 19230.175 | 17551.2734
16923 | 16086.1276 | 14220.08 | 24547.6276 | 20316.8776 | 18450.83
17761 | 14930.4156 | 12837.2893 | 23810.9156 | 19370.6656 | 17277.5393
18781 | 15224.1204 | 13010.3799 | 24614.6204 | 19919.3704 | 17705.6299
19321 | 14203.4663 | 11774.3548 | 23863.9663 | 19033.7163 | 16604.6048
20281 | 13775.5912 | 11184.0557 | 23916.0912 | 18845.8412 | 16254.3057
21001 | 11564.4212 | 8729.0953 | 22064.9212 | 16814.6712 | 13979.3453
22081 | 11355.4136 | 8357.5092 | 22395.9136 | 16875.6636 | 13877.7592
22801 | 10981.4464 | 7807.3036 | 22381.9464 | 16681.6964 | 13507.5536
23581 | 9359.9965 | 5819.762 | 21150.4965 | 15255.2465 | 11715.012
25201 | 6923.4464 | 2842.4841 | 19523.9464 | 13223.6964 | 9142.7341
27601 | 9360.2961 | 5103.7639 | 23160.7961 | 16260.5461 | 12004.0139
28381 | 9736.3534 | 5344.682 | 23926.8534 | 16831.6034 | 12439.932
28981 | 8935.8269 | 4287.4722 | 23426.3269 | 16181.0769 | 11532.7222
30121 | 10229.0213 | 5540.0027 | 25289.5213 | 17759.2713 | 13070.2527
30301 | 8436.4819 | 3543.7557 | 23586.9819 | 16011.7319 | 11119.0057
31201 | 9088.1037 | 4031.0532 | 24688.6037 | 16888.3537 | 11831.3032
31921 | 9899.5704 | 4759.8943 | 25860.0704 | 17879.8204 | 12740.1443
32281 | 10439.5704 | 5299.8943 | 26580.0704 | 18509.8204 | 13370.1443
Time | Vapor (grams)
0 | 0
1321 | 0
3121 | 0
4321 | 0
4921 | 0
5521 | 0
6721 | 0
7321 | 0
8041 | 0
8521 | 0
9481 | 115.4335
9661 | 457.1171
10081 | 1424.1933
10861 | 2606.43
11401 | 3046.4676
11701 | 3442.8747
12001 | 4300.9938
12601 | 4852.3064
13021 | 5544.228
13560 | 5833.6078
13801 | 5904.0213
13861 | 6534.3896
14341 | 8671.2717
15901 | 10275.4766
16923 | 11164.42
17761 | 13804.2107
18781 | 15161.1201
19321 | 17207.1452
20281 | 19237.4443
21001 | 22772.4047
22081 | 24763.9908
22801 | 26394.1964
23581 | 29551.738
25201 | 34959.0159
27601 | 36297.7361
28381 | 37226.818
28981 | 39184.0278
30121 | 39641.4973
30301 | 41907.7443
31201 | 42770.4468
31921 | 43121.6057
32281